White Classic Leather
Measured: 10/11/2021

Contact

Meredith Kupinski
Research Professor
Wyant College of Optical Sciences
University of Arizona
520.626.3985
meredith@optics.arizona.edu

Measured by:

Caroline Humphreys

File Types

.cmmi – Mueller matrix data

.png – Rendered Mueller matrix images

.rmmd – Raw camera images

Naming Convention

The files are named with the date, sample number, wavelength in nm, exposure time in ms, f-number, angle of incidence, and angle of camera axis:

YYYYMMDD_sampleNumber_λλλ_exposure_fno_AOI_AOC.cmmi

Description

This sample consists of a grey balance card.

Experiment Details

Instrument: RGB950 (GitHub: https://github.com/Polarization-Lab/RGB950)

Camera Settings:

| Wavelength (nm) | 451 | 524 | 662 |
| --- | --- | --- | --- |
| Exposure Time (ms) | 615 | 620 | 600 |
| F/# | 8 | 5.6 | 16 |

* note all scattering geometries have the same exposure time and F/#

Geometry of acquisition:

| Angle of Planar Sample's Surface Normal (AOI) ɸ (°) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 10 |  | 25 |  | 40 |  | 55 |  | 70 |
| Angle of PSA Camera's Optical Axis (AOC) θ (°) |  |  |  |  |  |  |  |  |  |
| Off Specular - 40 |  |  |  |  |  |  |  | 100 |  |
| Off Specular - 30 |  |  |  |  |  | 80 |  | 110 |  |
| Off Specular - 20 |  |  |  | 60 |  | 90 |  | 120 |  |
| Off Specular - 10 |  | 40 |  | 70 |  | 100 |  | 130 |  |
| Specular | 20 | 50 |  | 80 |  | 110 |  | 140 |  |
| Off Specular + 10 | 30 | 60 |  | 90 |  | 120 |  | 150 |  |
| Off Specular + 20 | 40 | 70 |  | 100 |  | 130 |  |  |  |
| Off Specular + 30 | 50 | 80 |  | 110 |  |  |  |  |  |
| Off Specular + 40 | 60 | 90 |  |  |  |  |  |  |  |
| Off Specular + 50 | 70 |  |  |  |  |  |  |  |  |

Notes

This sample is a grey balance card. It is matte in texture and appearance. It is very uniform in color.